## Distribution Pole-Mount
Harbourline Energy Co. Distribution Pole-Mount Transformers: Approved Equipment List (Rev 2026-07)
Identification |  |  |  | Electrical Ratings |  |  |  |  | Physical |  |  | Approval
Voltage Class | Model No. | Manufacturer | Phase | Rating | Primary Voltage | Secondary Voltage | Impedance | BIL | Oil Volume | Weight | Mounting | Approved Regions | Status
|  |  |  | kVA | kV | V | %Z | kV | L | kg
Ontario 27.6 kV class | NF-PM10-16A | Northfield Electric | 1 | 10 | 27.6GrdY/16.0 | 120/240 | 1.7 | 125 | 43 | 126 | Pole, direct hanger | ON | Approved
| NF-PM15-16A | Northfield Electric | 1 | 15 | 27.6GrdY/16.0 | 120/240 | 1.9 | 125 | 49 | 159 | Pole, direct hanger | ON | Approved
| NF-PM25-16A | Northfield Electric | 1 | 25 | 27.6GrdY/16.0 | 120/240 | 2.1 | 125 | 65 | 209 | Pole, direct hanger | ON | Phase out 2027
| LTW-PM25-16L | Lakeview Transformer Works | 1 | 25 | 27.6GrdY/16.0 | 120/240 | 1.8 | 125 | 70 | 211 | Pole, direct hanger | ON | Approved
| NF-PM25-16B | Northfield Electric | 1 | 25 | 27.6GrdY/16.0 | 120/240 | 1.9 | 125 | 68 | 215 | Pole, direct hanger | ON | Approved
| NF-PM375-16A | Northfield Electric | 1 | 37.5 | 27.6GrdY/16.0 | 120/240 | 2.1 | 125 | 90 | 278 | Pole, direct hanger | ON | Approved
| NF-PM50-16A | Northfield Electric | 1 | 50 | 27.6GrdY/16.0 | 120/240 | 2.3 | 125 | 109 | 340 | Pole, direct hanger | ON | Phase out 2027
| LTW-PM50-16L | Lakeview Transformer Works | 1 | 50 | 27.6GrdY/16.0 | 120/240 | 2.1 | 125 | 114 | 337 | Pole, direct hanger | ON | Approved
| NF-PM75-16A | Northfield Electric | 1 | 75 | 27.6GrdY/16.0 | 120/240 | 2.4 | 125 | 148 | 451 | Pole, crossarm bracket | ON | Approved
| NF-PM100-16A | Northfield Electric | 1 | 100 | 27.6GrdY/16.0 | 120/240 | 2.8 | 125 | 181 | 564 | Pole, crossarm bracket | ON | Approved
| LTW-PM100-16L | Lakeview Transformer Works | 1 | 100 | 27.6GrdY/16.0 | 120/240 | 2.8 | 125 | 182 | 553 | Pole, crossarm bracket | ON | Approved
| NF-PM167-16A | Northfield Electric | 1 | 167 | 27.6GrdY/16.0 | 120/240 | 3.5 | 125 | 282 | 815 | Pole, crossarm bracket | ON | Approved
Ontario 13.8 kV class | NF-PM10-8A | Northfield Electric | 1 | 10 | 13.8GrdY/8.0 | 120/240 | 1.7 | 95 | 46 | 119 | Pole, direct hanger | ON | Phase out 2027
| NF-PM15-8A | Northfield Electric | 1 | 15 | 13.8GrdY/8.0 | 120/240 | 1.8 | 95 | 51 | 154 | Pole, direct hanger | ON | Approved
| NF-PM25-8A | Northfield Electric | 1 | 25 | 13.8GrdY/8.0 | 120/240 | 2 | 95 | 72 | 219 | Pole, direct hanger | ON | Approved
| LTW-PM25-8L | Lakeview Transformer Works | 1 | 25 | 13.8GrdY/8.0 | 120/240 | 2 | 95 | 68 | 223 | Pole, direct hanger | ON | Approved
| NF-PM375-8A | Northfield Electric | 1 | 37.5 | 13.8GrdY/8.0 | 120/240 | 1.9 | 95 | 89 | 276 | Pole, direct hanger | ON | Phase out 2027
| NF-PM50-8A | Northfield Electric | 1 | 50 | 13.8GrdY/8.0 | 120/240 | 2.1 | 95 | 109 | 344 | Pole, direct hanger | ON | Approved
| LTW-PM50-8L | Lakeview Transformer Works | 1 | 50 | 13.8GrdY/8.0 | 120/240 | 2.1 | 95 | 107 | 334 | Pole, direct hanger | ON | Approved
| NF-PM75-8A | Northfield Electric | 1 | 75 | 13.8GrdY/8.0 | 120/240 | 2.6 | 95 | 153 | 455 | Pole, crossarm bracket | ON | Approved
| NF-PM100-8A | Northfield Electric | 1 | 100 | 13.8GrdY/8.0 | 120/240 | 2.7 | 95 | 189 | 567 | Pole, crossarm bracket | ON | Approved
| LTW-PM100-8L | Lakeview Transformer Works | 1 | 100 | 13.8GrdY/8.0 | 120/240 | 2.8 | 95 | 186 | 564 | Pole, crossarm bracket | ON | Approved
| NF-PM167-8A | Northfield Electric | 1 | 167 | 13.8GrdY/8.0 | 120/240 | 3.4 | 95 | 279 | 817 | Pole, crossarm bracket | ON | Approved
New York 13.2 kV class | NF-PM10-7A | Northfield Electric | 1 | 10 | 13.2GrdY/7.62 | 120/240 | 1.8 | 95 | 44 | 124 | Pole, direct hanger | NY | Approved
| NF-PM15-7A | Northfield Electric | 1 | 15 | 13.2GrdY/7.62 | 120/240 | 1.7 | 95 | 50 | 155 | Pole, direct hanger | NY | Approved
| NF-PM25-7A | Northfield Electric | 1 | 25 | 13.2GrdY/7.62 | 120/240 | 2 | 95 | 68 | 212 | Pole, direct hanger | NY | Approved
| LTW-PM25-7L | Lakeview Transformer Works | 1 | 25 | 13.2GrdY/7.62 | 120/240 | 2 | 95 | 69 | 224 | Pole, direct hanger | NY | Approved
| NF-PM375-7A | Northfield Electric | 1 | 37.5 | 13.2GrdY/7.62 | 120/240 | 2.2 | 95 | 89 | 287 | Pole, direct hanger | NY | Approved
| NF-PM50-7A | Northfield Electric | 1 | 50 | 13.2GrdY/7.62 | 120/240 | 2.1 | 95 | 107 | 344 | Pole, direct hanger | NY | Approved
| LTW-PM50-7L | Lakeview Transformer Works | 1 | 50 | 13.2GrdY/7.62 | 120/240 | 2.3 | 95 | 108 | 349 | Pole, direct hanger | NY | Approved
| NF-PM75-7A | Northfield Electric | 1 | 75 | 13.2GrdY/7.62 | 120/240 | 2.6 | 95 | 152 | 448 | Pole, crossarm bracket | NY | Approved
| NF-PM100-7A | Northfield Electric | 1 | 100 | 13.2GrdY/7.62 | 120/240 | 2.8 | 95 | 184 | 557 | Pole, crossarm bracket | NY | Phase out 2027
| LTW-PM100-7L | Lakeview Transformer Works | 1 | 100 | 13.2GrdY/7.62 | 120/240 | 2.7 | 95 | 181 | 570 | Pole, crossarm bracket | NY | Approved
| NF-PM167-7A | Northfield Electric | 1 | 167 | 13.2GrdY/7.62 | 120/240 | 3.5 | 95 | 284 | 814 | Pole, crossarm bracket | NY | Approved
Ohio 12.47 kV class | NF-PM10-7A | Northfield Electric | 1 | 10 | 12.47GrdY/7.2 | 120/240 | 2 | 95 | 40 | 127 | Pole, direct hanger | OH | Approved
| NF-PM15-7A | Northfield Electric | 1 | 15 | 12.47GrdY/7.2 | 120/240 | 1.8 | 95 | 56 | 156 | Pole, direct hanger | OH | Approved
| NF-PM25-7A | Northfield Electric | 1 | 25 | 12.47GrdY/7.2 | 120/240 | 1.9 | 95 | 68 | 222 | Pole, direct hanger | OH | Approved
| LTW-PM25-7L | Lakeview Transformer Works | 1 | 25 | 12.47GrdY/7.2 | 120/240 | 1.8 | 95 | 67 | 215 | Pole, direct hanger | OH | Phase out 2027
| NF-PM375-7A | Northfield Electric | 1 | 37.5 | 12.47GrdY/7.2 | 120/240 | 2.2 | 95 | 89 | 284 | Pole, direct hanger | OH | Approved
| NF-PM50-7A | Northfield Electric | 1 | 50 | 12.47GrdY/7.2 | 120/240 | 2.4 | 95 | 107 | 350 | Pole, direct hanger | OH | Approved
| LTW-PM50-7L | Lakeview Transformer Works | 1 | 50 | 12.47GrdY/7.2 | 120/240 | 2.2 | 95 | 108 | 347 | Pole, direct hanger | OH | Approved
| NF-PM75-7A | Northfield Electric | 1 | 75 | 12.47GrdY/7.2 | 120/240 | 2.4 | 95 | 148 | 444 | Pole, crossarm bracket | OH | Approved
| NF-PM100-7A | Northfield Electric | 1 | 100 | 12.47GrdY/7.2 | 120/240 | 2.7 | 95 | 181 | 562 | Pole, crossarm bracket | OH | Approved
| LTW-PM100-7L | Lakeview Transformer Works | 1 | 100 | 12.47GrdY/7.2 | 120/240 | 2.6 | 95 | 183 | 561 | Pole, crossarm bracket | OH | Approved
| NF-PM167-7A | Northfield Electric | 1 | 167 | 12.47GrdY/7.2 | 120/240 | 3.3 | 95 | 279 | 815 | Pole, crossarm bracket | OH | Phase out 2027

## Pad-Mount
Harbourline Energy Co. Pad-Mount Transformers: Approved Equipment List (Rev 2026-07)
Identification |  |  |  | Electrical Ratings |  |  |  |  | Physical |  |  | Approval
Voltage Class | Model No. | Manufacturer | Phase | Rating | Primary Voltage | Secondary Voltage | Impedance | BIL | Oil Volume | Weight | Mounting | Approved Regions | Status
|  |  |  | kVA | kV | V | %Z | kV | L | kg
Single phase residential | LTW-PAD25-1P-27 | Lakeview Transformer Works | 1 | 25 | 27.6GrdY/16.0 | 120/240 | 2.2 | 150 | 167 | 445 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD50-1P-27 | Lakeview Transformer Works | 1 | 50 | 27.6GrdY/16.0 | 120/240 | 2.3 | 150 | 205 | 571 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD75-1P-27 | Lakeview Transformer Works | 1 | 75 | 27.6GrdY/16.0 | 120/240 | 2.1 | 150 | 247 | 710 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD100-1P-27 | Lakeview Transformer Works | 1 | 100 | 27.6GrdY/16.0 | 120/240 | 2.1 | 150 | 323 | 828 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD167-1P-27 | Lakeview Transformer Works | 1 | 167 | 27.6GrdY/16.0 | 120/240 | 2.7 | 150 | 434 | 1162 | Pad, loop feed, dead front | ON | Approved
Three phase commercial, Ontario | LTW-PAD75-3P-27 | Lakeview Transformer Works | 3 | 75 | 27.6GrdY/16.0 | 347/600 | 2.43 | 150 | 268 | 704 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD75-3P-13 | Lakeview Transformer Works | 3 | 75 | 13.8GrdY/8.0 | 347/600 | 2.06 | 95 | 277 | 703 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD75-3P-27W | Lakeview Transformer Works | 3 | 75 | 27.6GrdY/16.0 | 120/208 | 2.21 | 150 | 275 | 651 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD75-3P-13W | Lakeview Transformer Works | 3 | 75 | 13.8GrdY/8.0 | 120/208 | 2.08 | 95 | 265 | 660 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD150-3P-27 | Lakeview Transformer Works | 3 | 150 | 27.6GrdY/16.0 | 347/600 | 2.18 | 150 | 391 | 1051 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD150-3P-13 | Lakeview Transformer Works | 3 | 150 | 13.8GrdY/8.0 | 347/600 | 2.5 | 95 | 397 | 1073 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD150-3P-27W | Lakeview Transformer Works | 3 | 150 | 27.6GrdY/16.0 | 120/208 | 2.49 | 150 | 400 | 1066 | Pad, loop feed, dead front | ON | Approved
| LTW-PAD150-3P-13W | Lakeview Transformer Works | 3 | 150 | 13.8GrdY/8.0 | 120/208 | 2.55 | 95 | 419 | 1038 | Pad, loop feed, dead front | ON | Approved
| CG-PAD300-3P-27 | Castlegate Power Products | 3 | 300 | 27.6GrdY/16.0 | 347/600 | 2.96 | 150 | 676 | 1808 | Pad, loop feed, dead front | ON | Approved
| CG-PAD300-3P-13 | Castlegate Power Products | 3 | 300 | 13.8GrdY/8.0 | 347/600 | 2.6 | 95 | 701 | 1767 | Pad, loop feed, dead front | ON | Approved
| CG-PAD300-3P-27W | Castlegate Power Products | 3 | 300 | 27.6GrdY/16.0 | 120/208 | 2.56 | 150 | 697 | 1786 | Pad, loop feed, dead front | ON | Approved
| CG-PAD300-3P-13W | Castlegate Power Products | 3 | 300 | 13.8GrdY/8.0 | 120/208 | 2.94 | 95 | 699 | 1817 | Pad, loop feed, dead front | ON | Approved
| CG-PAD500-3P-13 | Castlegate Power Products | 3 | 500 | 13.8GrdY/8.0 | 347/600 | 3.25 | 95 | 1083 | 2765 | Pad, loop feed, dead front | ON | Approved
| CG-PAD500-3P-27 | Castlegate Power Products | 3 | 500 | 27.6GrdY/16.0 | 347/600 | 4.6 | 150 | 1135 | 2860 | Pad, loop feed, dead front | ON | Approved
| CG-PAD500-3P-27W | Castlegate Power Products | 3 | 500 | 27.6GrdY/16.0 | 120/208 | 3.23 | 150 | 1069 | 2811 | Pad, loop feed, dead front | ON | Approved
| CG-PAD500-3P-13W | Castlegate Power Products | 3 | 500 | 13.8GrdY/8.0 | 120/208 | 3.41 | 95 | 1057 | 2759 | Pad, loop feed, dead front | ON | Approved
| CG-PAD750-3P-27 | Castlegate Power Products | 3 | 750 | 27.6GrdY/16.0 | 347/600 | 4.05 | 150 | 1554 | 3994 | Pad, loop feed, dead front | ON | Approved
| CG-PAD750-3P-13 | Castlegate Power Products | 3 | 750 | 13.8GrdY/8.0 | 347/600 | 3.87 | 95 | 1554 | 3995 | Pad, loop feed, dead front | ON | Approved
| CG-PAD750-3P-27W | Castlegate Power Products | 3 | 750 | 27.6GrdY/16.0 | 120/208 | 3.81 | 150 | 1539 | 3993 | Pad, loop feed, dead front | ON | Approved
| CG-PAD750-3P-13W | Castlegate Power Products | 3 | 750 | 13.8GrdY/8.0 | 120/208 | 3.68 | 95 | 1536 | 4017 | Pad, loop feed, dead front | ON | Approved
| CG-PAD1000-3P-27 | Castlegate Power Products | 3 | 1000 | 27.6GrdY/16.0 | 347/600 | 4.74 | 150 | 2020 | 5230 | Pad, loop feed, dead front | ON | Approved
| CG-PAD1000-3P-13 | Castlegate Power Products | 3 | 1000 | 13.8GrdY/8.0 | 347/600 | 4.34 | 95 | 2023 | 5265 | Pad, loop feed, dead front | ON | Approved
| CG-PAD1500-3P-27 | Castlegate Power Products | 3 | 1500 | 27.6GrdY/16.0 | 347/600 | 5.72 | 150 | 2959 | 7721 | Pad, radial feed, dead front | ON | Approved
| CG-PAD1500-3P-13 | Castlegate Power Products | 3 | 1500 | 13.8GrdY/8.0 | 347/600 | 6 | 95 | 2972 | 7737 | Pad, radial feed, dead front | ON | Approved
| CG-PAD2500-3P-27 | Castlegate Power Products | 3 | 2500 | 27.6GrdY/16.0 | 347/600 | 8.21 | 150 | 4860 | 12683 | Pad, radial feed, dead front | ON | Under evaluation
| CG-PAD2500-3P-13 | Castlegate Power Products | 3 | 2500 | 13.8GrdY/8.0 | 347/600 | 8.25 | 95 | 4865 | 12651 | Pad, radial feed, dead front | ON | Approved
Three phase commercial, US | LTW-PAD75-3P-13N | Lakeview Transformer Works | 3 | 75 | 13.2GrdY/7.62 | 277/480 | 2.32 | 95 | 265 | 711 | Pad, loop feed, dead front | NY | Approved
| LTW-PAD75-3P-12 | Lakeview Transformer Works | 3 | 75 | 12.47GrdY/7.2 | 277/480 | 2.48 | 95 | 251 | 668 | Pad, loop feed, dead front | OH | Approved
| LTW-PAD75-3P-13NW | Lakeview Transformer Works | 3 | 75 | 13.2GrdY/7.62 | 120/208 | 2.19 | 95 | 254 | 697 | Pad, loop feed, dead front | NY | Approved
| LTW-PAD75-3P-12W | Lakeview Transformer Works | 3 | 75 | 12.47GrdY/7.2 | 120/208 | 2.07 | 95 | 249 | 708 | Pad, loop feed, dead front | OH | Approved
| LTW-PAD150-3P-13N | Lakeview Transformer Works | 3 | 150 | 13.2GrdY/7.62 | 277/480 | 2.28 | 95 | 407 | 1077 | Pad, loop feed, dead front | NY | Approved
| LTW-PAD150-3P-12 | Lakeview Transformer Works | 3 | 150 | 12.47GrdY/7.2 | 277/480 | 2.47 | 95 | 401 | 1025 | Pad, loop feed, dead front | OH | Approved
| LTW-PAD150-3P-13NW | Lakeview Transformer Works | 3 | 150 | 13.2GrdY/7.62 | 120/208 | 2.34 | 95 | 392 | 1059 | Pad, loop feed, dead front | NY | Approved
| LTW-PAD150-3P-12W | Lakeview Transformer Works | 3 | 150 | 12.47GrdY/7.2 | 120/208 | 2.3 | 95 | 405 | 1045 | Pad, loop feed, dead front | OH | Approved
| CG-PAD300-3P-13N | Castlegate Power Products | 3 | 300 | 13.2GrdY/7.62 | 277/480 | 2.76 | 95 | 680 | 1815 | Pad, loop feed, dead front | NY | Approved
| CG-PAD300-3P-12 | Castlegate Power Products | 3 | 300 | 12.47GrdY/7.2 | 277/480 | 2.71 | 95 | 704 | 1793 | Pad, loop feed, dead front | OH | Approved
| CG-PAD300-3P-13NW | Castlegate Power Products | 3 | 300 | 13.2GrdY/7.62 | 120/208 | 2.63 | 95 | 697 | 1781 | Pad, loop feed, dead front | NY | Approved
| CG-PAD300-3P-12W | Castlegate Power Products | 3 | 300 | 12.47GrdY/7.2 | 120/208 | 2.61 | 95 | 677 | 1819 | Pad, loop feed, dead front | OH | Approved
| CG-PAD500-3P-13N | Castlegate Power Products | 3 | 500 | 13.2GrdY/7.62 | 277/480 | 3.33 | 95 | 1066 | 2766 | Pad, loop feed, dead front | NY | Approved
| CG-PAD500-3P-12 | Castlegate Power Products | 3 | 500 | 12.47GrdY/7.2 | 277/480 | 3.49 | 95 | 1084 | 2812 | Pad, loop feed, dead front | OH | Approved
| CG-PAD500-3P-13NW | Castlegate Power Products | 3 | 500 | 13.2GrdY/7.62 | 120/208 | 3.3 | 95 | 1085 | 2769 | Pad, loop feed, dead front | NY | Approved
| CG-PAD500-3P-12W | Castlegate Power Products | 3 | 500 | 12.47GrdY/7.2 | 120/208 | 3.32 | 95 | 1067 | 2792 | Pad, loop feed, dead front | OH | Approved
| CG-PAD750-3P-13N | Castlegate Power Products | 3 | 750 | 13.2GrdY/7.62 | 277/480 | 3.8 | 95 | 1542 | 3989 | Pad, loop feed, dead front | NY | Under evaluation
| CG-PAD750-3P-12 | Castlegate Power Products | 3 | 750 | 12.47GrdY/7.2 | 277/480 | 3.73 | 95 | 1560 | 4015 | Pad, loop feed, dead front | OH | Approved
| CG-PAD750-3P-13NW | Castlegate Power Products | 3 | 750 | 13.2GrdY/7.62 | 120/208 | 3.85 | 95 | 1555 | 4025 | Pad, loop feed, dead front | NY | Approved
| CG-PAD750-3P-12W | Castlegate Power Products | 3 | 750 | 12.47GrdY/7.2 | 120/208 | 4.01 | 95 | 1530 | 4007 | Pad, loop feed, dead front | OH | Approved
| CG-PAD1000-3P-13N | Castlegate Power Products | 3 | 1000 | 13.2GrdY/7.62 | 277/480 | 4.79 | 95 | 2012 | 5250 | Pad, loop feed, dead front | NY | Approved
| CG-PAD1000-3P-12 | Castlegate Power Products | 3 | 1000 | 12.47GrdY/7.2 | 277/480 | 4.57 | 95 | 2033 | 5251 | Pad, loop feed, dead front | OH | Approved
| CG-PAD1500-3P-13N | Castlegate Power Products | 3 | 1500 | 13.2GrdY/7.62 | 277/480 | 5.88 | 95 | 2965 | 7729 | Pad, radial feed, dead front | NY | Approved
| CG-PAD1500-3P-12 | Castlegate Power Products | 3 | 1500 | 12.47GrdY/7.2 | 277/480 | 6.01 | 95 | 2973 | 7724 | Pad, radial feed, dead front | OH | Approved

## Substation Power
Harbourline Energy Co. Substation Power Transformers: Approved Equipment List (Rev 2026-07)
Identification |  |  |  | Electrical Ratings |  |  |  |  | Physical |  |  |  | Approval
Station Class | Model No. | Manufacturer | Phase | Rating | HV Winding | LV Winding | Impedance | BIL (HV) | Oil Volume | Total Weight | Cooling | Tap Changer | Approved Regions | Status
|  |  |  | MVA | kV | kV | %Z | kV | L | kg
Ontario transformer stations | BRN-SPT-33-23044 | Brennock Industries | 3 | 20/26.7/33.3 | 230 | 44 | 8.9 | 900 | 18560 | 60884 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-83-23044 | Brennock Industries | 3 | 50/66.7/83.3 | 230 | 44 | 10.3 | 900 | 41596 | 137072 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-33-230276 | Brennock Industries | 3 | 20/26.7/33.3 | 230 | 27.6 | 8.6 | 900 | 18299 | 60237 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-83-230276 | Brennock Industries | 3 | 50/66.7/83.3 | 230 | 27.6 | 10.2 | 900 | 41499 | 137370 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-16-11544 | Brennock Industries | 3 | 10/13.3/16.7 | 115 | 44 | 8.1 | 550 | 9323 | 31112 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-25-11544 | Brennock Industries | 3 | 15/20/25 | 115 | 44 | 8.6 | 550 | 13168 | 43449 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-33-11544 | Brennock Industries | 3 | 20/26.7/33.3 | 115 | 44 | 8.4 | 550 | 16859 | 55549 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-83-11544 | Brennock Industries | 3 | 50/66.7/83.3 | 115 | 44 | 9.5 | 550 | 40309 | 133107 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-16-115276 | Brennock Industries | 3 | 10/13.3/16.7 | 115 | 27.6 | 7.8 | 550 | 9148 | 30536 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| LTW-SPT-25-115276 | Lakeview Transformer Works | 3 | 15/20/25 | 115 | 27.6 | 8.1 | 550 | 13225 | 43167 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-33-115276 | Brennock Industries | 3 | 20/26.7/33.3 | 115 | 27.6 | 8.9 | 550 | 16994 | 55953 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-33-115 | Brennock Industries | 3 | 20/26.7/33.3 | 115 | 27.6 | 8.9 | 550 | 18400 | 61200 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
| BRN-SPT-83-115276 | Brennock Industries | 3 | 50/66.7/83.3 | 115 | 27.6 | 10 | 550 | 40174 | 132673 | ONAN/ONAF/ONAF | LTC, 33 steps | ON | Approved
Ontario distribution stations | BRN-SPT-16-44276 | Brennock Industries | 3 | 10/13.3/16.7 | 44 | 27.6 | 8.7 | 250 | 8557 | 27814 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| BRN-SPT-25-44276 | Brennock Industries | 3 | 15/20/25 | 44 | 27.6 | 8.7 | 250 | 12411 | 41026 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| BRN-SPT-33-44276 | Brennock Industries | 3 | 20/26.7/33.3 | 44 | 27.6 | 8.7 | 250 | 16055 | 52569 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| LTW-SPT-16-44138 | Lakeview Transformer Works | 3 | 10/13.3/16.7 | 44 | 13.8 | 8.6 | 250 | 8409 | 27595 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| LTW-SPT-25-44138 | Lakeview Transformer Works | 3 | 15/20/25 | 44 | 13.8 | 8.6 | 250 | 12222 | 40182 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| BRN-SPT-33-44138 | Brennock Industries | 3 | 20/26.7/33.3 | 44 | 13.8 | 8.4 | 250 | 15835 | 52488 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| BRN-SPT-16-44416 | Brennock Industries | 3 | 10/13.3/16.7 | 44 | 4.16 | 8.1 | 250 | 8292 | 27634 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| BRN-SPT-25-44416 | Brennock Industries | 3 | 15/20/25 | 44 | 4.16 | 8.8 | 250 | 12012 | 39687 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
| BRN-SPT-33-44416 | Brennock Industries | 3 | 20/26.7/33.3 | 44 | 4.16 | 8.7 | 250 | 15996 | 52985 | ONAN/ONAF/ONAF | DETC, 5 positions | ON | Approved
New York substations | BRN-SPT-16-115132 | Brennock Industries | 3 | 10/13.3/16.7 | 115 | 13.2 | 8.6 | 550 | 9256 | 30249 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| LTW-SPT-25-115132 | Lakeview Transformer Works | 3 | 15/20/25 | 115 | 13.2 | 8.9 | 550 | 12978 | 42915 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| BRN-SPT-33-115132 | Brennock Industries | 3 | 20/26.7/33.3 | 115 | 13.2 | 9.1 | 550 | 17190 | 56376 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| BRN-SPT-83-115132 | Brennock Industries | 3 | 50/66.7/83.3 | 115 | 13.2 | 10.1 | 550 | 40080 | 132469 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| LTW-SPT-16-115345 | Lakeview Transformer Works | 3 | 10/13.3/16.7 | 115 | 34.5 | 8.5 | 550 | 9206 | 30686 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| BRN-SPT-25-115345 | Brennock Industries | 3 | 15/20/25 | 115 | 34.5 | 8.7 | 550 | 12898 | 42295 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| BRN-SPT-33-115345 | Brennock Industries | 3 | 20/26.7/33.3 | 115 | 34.5 | 8.3 | 550 | 16690 | 55001 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| BRN-SPT-83-115345 | Brennock Industries | 3 | 50/66.7/83.3 | 115 | 34.5 | 9.9 | 550 | 40507 | 134172 | ONAN/ONAF/ONAF | LTC, 33 steps | NY | Approved
| LTW-SPT-16-345132 | Lakeview Transformer Works | 3 | 10/13.3/16.7 | 34.5 | 13.2 | 7.8 | 200 | 8508 | 27774 | ONAN/ONAF/ONAF | DETC, 5 positions | NY | Approved
| LTW-SPT-25-345132 | Lakeview Transformer Works | 3 | 15/20/25 | 34.5 | 13.2 | 8.5 | 200 | 11948 | 39602 | ONAN/ONAF/ONAF | DETC, 5 positions | NY | Approved
| BRN-SPT-33-345132 | Brennock Industries | 3 | 20/26.7/33.3 | 34.5 | 13.2 | 9.2 | 200 | 16282 | 53943 | ONAN/ONAF/ONAF | DETC, 5 positions | NY | Approved
Ohio substations | BRN-SPT-16-138124 | Brennock Industries | 3 | 10/13.3/16.7 | 138 | 12.47 | 8.6 | 650 | 9434 | 31139 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| LTW-SPT-25-138124 | Lakeview Transformer Works | 3 | 15/20/25 | 138 | 12.47 | 8.1 | 650 | 13487 | 44639 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-33-138124 | Brennock Industries | 3 | 20/26.7/33.3 | 138 | 12.47 | 8.9 | 650 | 17432 | 57431 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-83-138124 | Brennock Industries | 3 | 50/66.7/83.3 | 138 | 12.47 | 10.6 | 650 | 40468 | 133515 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-16-138345 | Brennock Industries | 3 | 10/13.3/16.7 | 138 | 34.5 | 7.9 | 650 | 9288 | 30182 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-25-138345 | Brennock Industries | 3 | 15/20/25 | 138 | 34.5 | 8.1 | 650 | 13409 | 44362 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-33-138345 | Brennock Industries | 3 | 20/26.7/33.3 | 138 | 34.5 | 8.1 | 650 | 17462 | 57170 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-83-138345 | Brennock Industries | 3 | 50/66.7/83.3 | 138 | 34.5 | 10.3 | 650 | 40359 | 133528 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-16-69124 | Brennock Industries | 3 | 10/13.3/16.7 | 69 | 12.47 | 7.8 | 350 | 8332 | 27524 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-25-69124 | Brennock Industries | 3 | 15/20/25 | 69 | 12.47 | 8.5 | 350 | 12575 | 41428 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-33-69124 | Brennock Industries | 3 | 20/26.7/33.3 | 69 | 12.47 | 8.9 | 350 | 16160 | 53084 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved
| BRN-SPT-83-69124 | Brennock Industries | 3 | 50/66.7/83.3 | 69 | 12.47 | 9.6 | 350 | 39871 | 131719 | ONAN/ONAF/ONAF | LTC, 33 steps | OH | Approved

## Spares Inventory
Harbourline Energy Co. Transformer Spares Inventory by Depot (as of September 1, 2026)
Item |  | Kingston ON |  | Barrie ON |  | Whitby ON |  | Watertown NY |  | Jamestown NY |  | Ashtabula OH |  | Mansfield OH |  | System
Category | Model No. | On Hand | Reorder Point | On Hand | Reorder Point | On Hand | Reorder Point | On Hand | Reorder Point | On Hand | Reorder Point | On Hand | Reorder Point | On Hand | Reorder Point | Total On Hand
|  | units | units | units | units | units | units | units | units | units | units | units | units | units | units | units
Pole-mount | NF-PM10-16A | 2 | 5 | 4 | 4 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7
| NF-PM25-16A | 12 | 2 | 3 | 3 | 7 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22
| NF-PM25-16B | 12 | 6 | 9 | 6 | 4 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
| NF-PM50-16A | 3 | 5 | 8 | 5 | 7 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18
| NF-PM75-16A | 9 | 4 | 12 | 2 | 9 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
| LTW-PM100-16L | 6 | 4 | 1 | 3 | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12
| NF-PM10-8A | 5 | 3 | 4 | 5 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
| NF-PM25-8A | 7 | 3 | 1 | 4 | 7 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
| NF-PM375-8A | 2 | 2 | 11 | 5 | 8 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21
| LTW-PM50-8L | 5 | 5 | 1 | 2 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
| NF-PM100-8A | 7 | 5 | 1 | 5 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14
| NF-PM167-8A | 11 | 5 | 14 | 5 | 7 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32
| NF-PM15-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 12 | 4 | 12
| LTW-PM25-7L | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 13 | 4 | 14
| NF-PM50-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 2 | 5 | 5 | 19
| NF-PM75-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 12 | 4 | 13
| LTW-PM100-7L | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 3 | 2 | 5 | 12
| NF-PM10-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 2 | 11 | 2 | 19
| NF-PM25-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 4 | 6 | 3 | 13
| NF-PM375-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 12 | 5 | 16
| LTW-PM50-7L | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | 14 | 5 | 15
| NF-PM100-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 5 | 11 | 3 | 25
| NF-PM167-7A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 5 | 2 | 2 | 9
Pad-mount | LTW-PAD25-1P-27 | 4 | 4 | 6 | 3 | 14 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24
| LTW-PAD75-1P-27 | 1 | 4 | 14 | 5 | 2 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17
| LTW-PAD167-1P-27 | 12 | 2 | 13 | 2 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29
| LTW-PAD75-3P-13 | 10 | 5 | 14 | 2 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25
| LTW-PAD75-3P-13W | 1 | 4 | 9 | 5 | 12 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22
| LTW-PAD150-3P-13 | 4 | 5 | 10 | 4 | 7 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21
| LTW-PAD150-3P-13W | 4 | 5 | 10 | 3 | 9 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23
| CG-PAD300-3P-13 | 3 | 2 | 2 | 4 | 14 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
| CG-PAD300-3P-13W | 11 | 2 | 4 | 3 | 6 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21
| CG-PAD500-3P-27 | 5 | 2 | 3 | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
| CG-PAD500-3P-13W | 2 | 5 | 11 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
| CG-PAD750-3P-13 | 12 | 2 | 12 | 5 | 6 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
| CG-PAD750-3P-13W | 0 | 5 | 7 | 3 | 12 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
| CG-PAD1000-3P-13 | 3 | 4 | 10 | 5 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13
| CG-PAD1500-3P-13 | 11 | 2 | 10 | 5 | 7 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28
| CG-PAD2500-3P-13 | 0 | 4 | 2 | 2 | 9 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
| LTW-PAD75-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 3 | 10 | 5 | 18
| LTW-PAD75-3P-12W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 4 | 1 | 5 | 6
| LTW-PAD150-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 5 | 1 | 5 | 7
| LTW-PAD150-3P-12W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2 | 1 | 5 | 8
| CG-PAD300-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 5 | 11 | 4 | 25
| CG-PAD300-3P-12W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 4 | 1
| CG-PAD500-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 3 | 6 | 4 | 18
| CG-PAD500-3P-12W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 2 | 3 | 3 | 12
| CG-PAD750-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 5 | 10 | 4 | 24
| CG-PAD750-3P-12W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 5 | 4 | 2 | 16
| CG-PAD1000-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 11 | 5 | 15
| CG-PAD1500-3P-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 10 | 5 | 10
Substation power | BRN-SPT-33-23044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRN-SPT-83-230276 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| BRN-SPT-33-11544 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| LTW-SPT-25-115276 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
| BRN-SPT-83-115276 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
| BRN-SPT-33-44276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRN-SPT-33-44138 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
| BRN-SPT-33-44416 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| BRN-SPT-33-115132 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRN-SPT-25-115345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| LTW-SPT-16-345132 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| BRN-SPT-16-138124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRN-SPT-83-138124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
| BRN-SPT-33-138345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
| BRN-SPT-25-69124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
| BRN-SPT-33-115 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1